## Slide 1
Instrument fully enclosed by frame for optional interlocked doors/accessory attachment
Native mounting provision for Raspberry Pi cameras and LED light sources for optical extensiometry
Interchangeable/offsettable standardised thread load cell and grip system
Linear DC actuator
Lever with interchangeable ranges (via movable pin)
Appreciable space for sample/grips/load cell
Removable instrument feet for horizontal operation
Substantially built instrument superstructure (steel box tube core, steel side panels)
Digital scale provision for non-optical extensiometry tests
~1.6m
(Early prototype assembly photo)

## Slide 2
(1)
(2)
(3)
(4)
(5)
(6)
(7) Sample section
(8) Actuator section
(9)
(10)
(11)
(12)
(13)
(14)
(15)
(16)
(18)
(19)
(20)
(21)
(22)
(23)
(24)
(25)
(2)
(3)
(20)
(13)
(14)
(18)
(17)
(17)