## Slide 2
Microswitches sit in signal/power path, with other two conductors (joined end to end) carrying return signal/power from far end of interlock cable run. Cable screens connected together.
Glue microswitch paddles together
File away edge of bracket/microswitch paddle so they clear each other
Interlock cables cable tied to side of bracket

## Slide 3
Actuator chamber lower panel slotted in during frame build
Actuator chamber front panel slotted in during frame build
Sample chamber front panel screwed on to rail surfaces (removable for custom sample optical access)
Sample chamber top panel screwed on to rail surfaces (removable)
Divider panel slotted in during frame build, with bolted on smaller customisable insert panel. Cut out hole corresponding to cut out in upper rail frame U bracket to run actuator/ interlock cables through
Sample chamber double-hinged concertina door on both sides of instrument
Actuator chamber double-hinged concertina door on both sides of instrument, potentially with key lock to restrict access. One side requires a carefully designed hole for the actuator motor
Hinged doors mounted to rearmost aluminium rails
Cupboard door magnets attached to “upright” aluminium rails, connecting with metal plates attached to the second half of hinged doors
Doors designed to clear left/right feet